## FLOOR CONSTRUCTIONS

Unit 1

79 Friar Street

Worcester

WR1 2NT

Tel: 01905 616 928

Fax:01905 611 240

E-mail: info@underfloorheatingsystems.co.uk

Website: www.underfloorheatingsystems.co.uk

1. Floor construction: Timber floor- between joists.

- Does not increase floor height but joist notches are required for pipe to pass from bay to bay.

- Insulation, high density type (‘Celotex’, ‘Kingspan’, ‘Styrofoam’ etc.), minimum 50mm, (refer to building regulations).

- Joist centres 400mm, pipes clipped at 200mm centres using plastic pipe staples.

- Drymix, 8:1 damp sand/cement ‘biscuit’ mix, 20mm thick.

- The drymix is optional but recommended as is helps to evenly dissipate the heat through the floor and reduces the required water temperature, (refer to Architect to check floor loading).

2. Floor construction: Timber floor- above joists.

- Increases floor height but joist notches are not required for pipe to pass from bay to bay.

- Insulation is mandatory when used on the ground floor or above unheated spaces, minimum 150mm mineral wool or 50mm high density type (‘Celotex’, ‘Kingspan’, ‘Styrofoam’ etc.), (refer to building regulations).

- Insulation is optional but recommended on floors above heated spaces, minimum 50mm mineral wool or 25mm high density.

- Joist centres , 400 or 600mm, pipes clipped at 200mm centres using nail type pipe clips.

- Drymix, 8:1 damp sand / cement ‘biscuit’ mix.

- The drymix is optional on first floors but recommended as is helps to evenly dissipate the heat through the floor and reduces the required water temperature, (refer to Architect to check floor loading).

- Sheathing ply or OSB ‘sterling’ board, 9mm thick, is recommended for the decking.

3. Floor construction: Concrete floor.

- Sub floor can be either beam& block or concrete.

- Insulation minimum 50mm polyurethane, eg.‘Styrofoam’, ‘Kingspan’,’Celotex’(refer to building regulations).

- If using  polystyrene eg. ‘Jablite’, minimum 80mm, a lightweight reinforcing mesh will be required to provide a fixing for the pipe, using pipe ties.

- Edge insulation 10mm polyurethane.

- Floor slab, 65mm minimum, sand / cement (fibre reinforced recommended) or pumped anhydrite screed.

- Refer to building regulations for position of damp proof membrane.

4. Floor construction: Timber floor on concrete.

- Insulation minimum 30mm polyurethane (‘Styrofoam’, ‘Kingspan’,’Celotex’), (refer to building regulations.

- Polystyrene is not suitable.

- Joist centres, 400 or 600mm, pipes clipped at 200mm centres using plastic pipe staples.

- Joist height required to be 20mm greater than insulation.

- Drymix, 8:1 damp sand/cement ‘biscuit’ mix.