## Slide 1
Larder
Cabinets
7.72m
8.635m
(to cabinets)
6.13m
3m
3.74m
Ceiling Height: 2.6m
Drawers
Cabinets
1.2m
1.4m
1.2m
3m
0.631m
0.631m
1.965m
2.57m
4.59m
0.61m
2.45m
0.62m
1.165m
1.849m
0.3m
wine
Oven
Oven
FF
Larder
SOFA
SOFA
Lantern /
Sky Pod
Manifold
DW
Hob

## Slide 2
Larder
Cabinets
Hob
Drawers
Cabinets
2.45m
wine
Oven
Oven
FF
Larder
Manifold
DW
Electrical Plan
Fireplace Wall Plan
0.8m
0.4m
0.4m
0.4m
0.8m
0.4m
0.4m
0.4m
FIREPLACE
TV
SOUNDBAR
Manifold
Lantern /
Sky Pod
2 Gang
Single Gang
32A for Induction Hob
Up/Down Light
2 Gang USB
This is for the pop up 4 gang island plug socket (kitchen fitter to install so just a cable ready to go)
This is illustrative of power for DW and Wine Cooler
The Manifold and pump will require power. The POC for this is Gary at ThermoScreed. (info@thermoscreed.co.uk). Programmed in to fit UFH on w/c 8 Oct unless there is scope to bring this left?
This USB 2 gang plug socket is already fitted and content for it to remain.
Virgin Box Location
Virgin Box. Prior to the work commencing I moved the virgin cable to the study to ensure we had wifi through the build. Ideally I would like this moved back at the right time to feed the media wall systems. It is currently in the front sitting room (green diamond) and I would like it moved to the fireplace wall (other green diamond). The cable is long enough and the hole through the wall already exists.
Notes :
Any sky, TV coax or bt phone lines can be removed. We only use virgin for Internet and TV. We don’t have a land-line or need one.
Feel free to remove all other cables for a neat finish. Old microbore pipes can be removed.
Fan extractor to be hidden above oven units
Heat alarm to be linked to smoke detectors on each floor – location subject to building regs. .

## Slide 3
Larder
Cabinets
Hob
Drawers
Cabinets
2.45m
wine
Oven
Oven
FF
Larder
Lantern /
Sky Pod
DW
Lighting Plan
= Different Colours for each circuit
Up/Down Light
Spotlight
Switch
Single Throw single pole switch for outdoor lights
Single Throw single pole switch for up/down lights
4 gang
Kitchen area (green) (double throw)
Dining Area (burnt orange) (double throw)
Living Room Area (purple) (double throw)
Cabinet Up/Down Lights (Blue) (single throw)
4 gang
Outside Lights (red) (single throw)
Living Room Area (purple) (double throw)
Dining Area (burnt orange) (double throw)
Kitchen area (green) (double throw)
1 | 2 | 3 | 4
1 | 2 | 3 | 4
As you face the switch
As you face the switch
Single pendant linked to hallway light as discussed.